## Gulaothi
ENERGY ACCOUNT OF 132 KV SUB-STATION GULAOTHI
M/O-02/2026
| FROM 132 KV S/S BHOOR |  |  |  |  | FROM 132 KV S/S DASNA
|  |  | 494097 |  |  |  | 1642282.7
|  |  | 494097 |  |  |  | 1627592.4 | MF-0.48
|  |  | 0 | O.E. Exp. |  |  | 7051.344 | O.E. Exp.
762
762
|  |  | 0 | Exp. |  |  |  | Exp.
|  |  | 145533 |  |  |  | 1634.2915
|  |  | 145533 |  |  |  | 1619.6675 | MF-480
|  |  | 0 | Imp. |  | Imp. | 7019.52
|  |  | CT 400/1 |  |  |  | CT 400/1
132 KV BUS
|  |  |  | 132/33 KV |  |  |  | 132/33 KV
|  |  |  | 40 MVA |  |  |  | 40 MVA
|  |  |  | T/F -I |  |  |  | T/F -II
|  |  |  | 32.58 | (LV) |  |  | 80285 | (LV)
|  |  |  | 11.75 |  |  |  | 72002
|  |  |  | 4999.2 |  |  |  | 1987.92
|  |  |  | CT 800/1 |  |  |  | CT 800/1
|  |  |  | MF - 240 |  |  |  | MF - 0.24
33 KV BUS
CT 400/1 |  | CT-200/1 |  | CT-200/1 |  | CT-400/1 |  | CT-400/1 |  | CT-400/1
MF -2.0 |  | MF 60 |  | MF 0.12 |  | MF .12 |  | MF 2 |  | MF 2
335066.9 |  | 191.0813 |  | 176100 |  | 2049.42 |  | 146236 |  | 206268.47
333952.2 |  | 174.0069 |  | 176089 |  | 2049.42 |  | 140991 |  | 204727.73
2229.4 |  | 1024.4655 |  | 1.32 |  | 0 | 2 | 629.4 |  | 3081.48
Gulaothi |  | V.R.S. Food |  | Ayushasteel |  | Sapnawat | S/S T/F | Sanota |  | Gulaothi
(Town) |  | E,D.D.-I |  | E.D.D.-I |  | EDD-II |  | E.D.D.-I |  | (Rural)
E.D.D.-I |  | BSR |  | BSR |  | HAPUR |  | BSR |  | E.D.D.-I
BSR | [9 empty] | BSR
| 132 KV BUS | 33 KV BUS | ABSTRACT OF S/S | NAME OF CIRLCE | E.D.D. I | ETD, BSR | ETD-II, G.B.Z | EDD-II HAPUR | TOTAL
Imp. | 7019.52 | 6987.12 | 7019.52 | EDC-II BSR | 6966.0655 | - | - | - | 6966.0655
Exp., | 6987.12 | 6968.0655 | 6968.0655 | ETC-Gr. Noida | - | 2 | - | - | 2
Diff. | 32.4 | 19.0545 | 51.4545 | EDC-HPU | - | - | - | 0 | 0
|  |  |  | ETC-G.Z.B. | - | - | 0 | - | 0
% Loss | 0.46157 | 0.27271 | 0.73302 | Total | 6966.0655 | - | - | - | 6968.0655
Note :- Reading taking from HV Side so assement done accordingly.
SDO -I |  | AE (T&C) |  |  |  | E.E. (Test)-II |  | E.E. (Trans.)
BSR |  | BSR |  |  |  | BSR |  | BSR

## Sikandrabad
ENERGY ACCOUNT OF 220 KV SUB-STATION SIKANDRABAD
[5 empty] | FROM 220 KV KHURJA |  |  | TO 220 KV MURADNAGAR |  |  | 400 KV Sikandrabad CKT-Ist |  |  |  | 400 KV Sikandrabad CKT-IInd |  |  |  | M/O-Feb-2026
[5 empty] | 354.61 |  | O.E. | 285 |  | O.E. | L/LOSS OF 220 KV S.BAD CKT-I | 4103.052 | O.E. | L/LOSS OF 220 KV S.BAD CKT-II |  | 4139.626 | O.E.
[5 empty] | 334.25 |  | MF1600 | 285 |  | MF-1600 |  | 4071.206 | MF-1600 |  |  | 4107.725 | MF-1600
[5 empty] | 32576 |  | O.E. (Exp) | 0 |  | O.E. (Exp) | 0.78223 | 50953.6 | O.E. (Exp) | 0.34482 |  | 51041.6 | O.E. (Exp)
[5 empty] | 41.99 |  |  | 1580208 |  |  |  | 0.743 |  |  |  | 0.832
[5 empty] | 41.91 |  | MF1600 | 1559739 |  | MF-1600 |  | 0.743 | MF-1600 |  |  | 0.832 | MF-1600
[5 empty] | 128 |  | O.E Imp. | 32750.4 |  | O.E. Imp. |  | 0 | O.E.-Imp |  |  | 0 | O.E.-Imp
[5 empty] | 551948 |  |  | 6123103 |  |  | 0.821 |  |  |  | 0.846
[5 empty] | 551872 |  | MF-1.6 | 6102538 |  |  | 0.82 |  |  |  | 0.845 |  | MF-1600
[5 empty] | 121.6 |  | Exp. | 32904 |  | Exp. | 1.6 |  | Exp. |  | 1.6 |  | Exp. | [8 empty] | CT-200/1
[5 empty] | 5940174 |  |  | 7110 |  |  |  | 4003.622 |  |  | 4032.697
[5 empty] | 5919911 |  | MF-1.6 | 7110 |  |  |  | 3971.858 | MF-1600 |  | 4000.906 |  | MF-1600 |  |  |  | CT-200/1
[5 empty] | 32420.8 |  | Imp. | 0 |  | Imp. |  | 50822.4 | Imp. |  | 50865.6 |  | Imp. |  |  |  | TSS Railway |  |  |  | CT-400/1 | 132 KV Amba Shakti
[6 empty] | CT-800/1 |  | CT-800/1 | [6 empty] | CT-800/1 | MF 1600 |  |  |  |  | 81768 |  | CT-200/1 |  | 132 KV S/S Bhoor-II
|  |  | CT |  |  |  | CT- | [8 empty] | 220 KV BUS |  | Dankaur End | S.BAD END C.T.-400/1 |  | 77727 |  | 132 KV Shree Cement |  | 853903.1 | 4030734
[18 empty] | MF-2 | MF-1 |  | 969.84 |  |  |  | 847142.9 | 3985483
[18 empty] | 558938 | 1120415 |  | 524401 |  |  |  | 6760.2 | 21720.48
|  |  |  | 4793540 | 160 MVA |  |  | 7038672 |  | 100 MVA |  | 6954811 | 100 MVA |  |  |  |  | 555345 | 1113219 |  | 524048 |  | 713502 |  | 858055 | EDD-I | MF-0.48
|  |  |  | 4732622 | 220/132 KV |  |  | 6997673 |  | 220/132 KV |  | 6914059 | 220/132 KV |  |  |  |  | 7186 | 7196 |  | 84.72 |  | 699067 |  | 851270
|  |  |  | 38073.75 |  |  |  | 24599.4 |  | T/F-I |  | 24451.2 | T/F-II |  |  |  |  | L/LOSS | 0.13897 |  | 1054.56 |  | 3464.4 |  | 6785
|  |  |  | MF - 0.625 |  |  |  | MF - 0.6 |  |  |  | MF - 0.6 | [6 empty] | MF-1 |  | MF-0.24 |  | MF-0.24 |  | 0.36551
|  |  |  | CT-800/1 |  |  |  | CT-500/1 |  |  |  | CT-500/1 |  |  |  | 132 KV BUS |  |  | EDD-I |  | EDD-I |  | EDD-I |  | EDD-I
|  | 132/33 KV | [16 empty] | 879090 |  |  |  | 350312 | 220/33 KV
|  | 40 MVA T/F-I |  |  |  |  | 904042 | 132/33 KV | [6 empty] | 885071 | 132/33 KV |  |  | 861040 | 220/33 KV |  |  | 338930 | 60 MVA T/F-II
|  | 538390 |  |  |  |  | 850019 | 63 MVA T/F-I | [6 empty] | 840861 | 63 T/F-II |  |  | 6768.75 | 60 MVA T/F-I |  |  | 6829.2
|  | 493008 |  |  |  |  | 19448.28 | MF-0.375 | [6 empty] | 16357.7 | MF 0.36 |  |  | CT-1200/1 | MF 0.375 |  |  | MF 0.6 | CT-1200/1
|  | 10891.68 | [12 empty] | CT-1200/1
|  | MF-0.24 | CT-800/1 |  |  |  | CT-800/1
| CT-150/1 | CT-60/1 |  |  |  | CT-200/1 |  | CT-200/1 |  | CT- 400/1 |  | CT- 400/1 |  | CT- 200/1 |  | CT- 200/1 |  |  | CT-200/1 |  | CT-400/1 |  |  |  | CT- 400/1
| MF- 0.75 | MF-18 |  | MF- 60 |  | MF- 1 |  | MF-60 |  | MF - 2 |  | MF-2 |  | MF- 60 |  | MF- 60 |  |  | MF-60 |  | MF -2 |  | MF -2 |  | MF-2
| 383 | 8 |  | 4 |  | 7 |  | 6 |  | 3 |  | 10 |  | 9 |  | 12 |  |  | 16 |  | 11 |  | 1 |  | 19
| 76192.5 | 61.116 |  | 1952.887 |  | 248490.7 |  | 882.912 |  | 17349.8 |  | 295710.8 |  | 2548.23 |  | 1941.6 |  |  | 2111.097 |  | 111007.5 |  | 271064.6 |  | 177636.4
| 75861.5 | 46.325 |  | 1916.765 |  | 246592.2 |  | 844.261 |  | 17349.8 |  | 292027.8 |  | 2545.74 |  | 1927.08 |  |  | 2076.68 |  | 110104.3 |  | 269582 |  | 176316.6
| 331 | 266.238 |  | 2167.32 |  | 1898.5 |  | 2319.06 |  | 0 |  | 7366 |  | 149.4 |  | 871.2 |  |  | 2065.02 |  | 1806.4 |  | 2965.2 |  | 2639.6
| 33/11 KV | Master Ji |  | Oriant bell |  | Fiber Glass |  | UltraTeck Cement |  | MS Nagar |  | Gopal Pur, |  | Gangeshwari |  | Mahavir Cont. |  |  | GoodLuck |  | Khurja Road |  | Jokhabad--7 |  | Tehshil
| 5 MVA T/F -1 |  |  | Open Access |  | EDD-I |  | Open Access |  | EDD- Nodia |  | EDD-I |  | EDD-I |  | EDD-I |  |  | Open Access |  | EDD-V |  | Industrial-II |  | EDD-I
EDD-I
| CT-200/1 | CT-200/1 |  | CT-400/1 |  | CT-100/1 | CT-100/1 | CT-200/1 |  | CT-200/1 | CT-200/1 | CT-200/1 |  | CT-400/1 | CT-200/1 | CT-200/1 | CT-200/1 |  | CT-200/1 | CT-200/1 | CT-200/1 | CT-200/1 | CT-200/1 |  | CT-200/1 | CT-200/1 | CT-200/1 | CT-200/1 | CT-200/1 | CT-200/1 | CT-200/1
| MF-60 | MF-2/60 |  | MF-2 |  | MF-1 | MF-60 | MF-60 |  | MF-60 | MF-60/0.06 | MF-60 |  | MF-0.12 | MF-0.06 | MF-60 | MF-0.12 |  | MF-2 | MF-60 | MF-2 | MF-0.06 | MF-2 |  | MF-30 | MF-120 | MF-0.06 | MF-0.06 | MF-60 | MF-60 | MF-60
| 27 | 26 |  | 24 |  | 20 | 28 | 29 |  | 30 | 18 | 17 |  | 15 | 14 | 31 | 13 |  | 21 | 22 | 23 | 34 | 25 |  | 32 | 33 | 36 | 37 | 38 | 39 | 40
| 1749.017 | 756.272 |  | 60583.4 |  | 379.847 | 745.647 | 1705.825 |  | 1654.668 | 1924647 | 376.395 |  | 4624825 | 49401.7 | 992.047 | 1619943 |  | 74614 | 2688.48 | 46859.9 | 369596.3 | 8055.2 |  | 2402.464 | 161.4 | 441572.8 | 506435.7 | 99.109 | 186.223 | 78.8
| 1726.273 | 744.388 |  | 60341.1 |  | 364.511 | 731.957 | 1670.821 |  | 1624.041 | 1887873 | 344.113 |  | 4605959 | 47481.7 | 983.307 | 1587626 |  | 74614 | 2650.094 | 46810.8 | 360102.7 | 8055.2 |  | 2350.326 | 136.6 | 423018.2 | 475799.5 | 78.018 | 143.78 | 50.3
| 1364.64 | 713.04 |  | 484.6 |  | 920.16 | 821.4 | 2100.24 |  | 1837.62 | 2206.44 | 1936.92 |  | 2263.92 | 115.2 | 524.4 | 3878.04 |  | 0 | 2303.16 | 98.2 | 569.616 | 0 |  | 1564.14 | 2976 | 1113.276 | 1838.172 | 1265.46 | 2546.58 | 1710
| Saini Alloy | Soniya Steel |  | Fakana |  | U.P.Twiga Fiber | PPL | Apollo Matalex |  | Apollo Tubes | Blue Star, | R.M.G |  | Nizampur Town | Cellcom | Goel Ass. | Jokhabad-II |  | Dankur | Kajaria | Muradabad | Hygiene | Ind. IPL |  | Hi-Tech | Rathi Steel | AVADA(KOTDARI) | GOODLUCK-2 | GOOD LUCK DEFENCE | FUZIAYAMA | A.Coated
| Open Access | Open Access |  | EDD-V |  | EDD-I | Open Access | Open Access |  | Open Access | EDD-I | Open Access |  | EDD-I | Open Access | Open Access | EDD-I |  | Noida | Open Access | EDD-I | EDD-I | EDD-I |  | Open Access | EDD-I | Noida | EDD-I | EDD-I | NOIDA | Open Access
| 220 KV BUS | 132 KV BUS |  | 33 KV BUS |  | ABSTRACT OF S.S | NAME OF CIRCLE | EDD-I | EDD-V |  | ETD M. Nagar | ETD BSR | ETD NOIDA | M/s Ultra tech Cement | M/s Shree Cement | TSS Gulaothi RLY | M/s Kjaria | M/s Saini Alloy | M/s PPL | Bhoor-IInd | M/s Amba Shakti | M/s Appolo Matlex | M/s APL Appolo | Cellcom | M/s Master Ji | M/s Orient | M/s Good Luck | M/s RMG | M/s Soniya Steel | M/s Hitech | M/s Goel Associates | Apollo Coated | ETD, KRJ | TOTAL
Imp. | 134108.8 | 87124.35 |  | 60295.61 |  | 134108.8 | EDC- BSR-II | 29098.724 | 2291 | [24 empty] | 31389.724
[7 empty] | ETC- Noida | [5 empty] | 13984.04 | [20 empty] | 13984.04
Exp. | 133751.1 | 86918.1 |  | 60214.162 |  | 133460.202 | ETC- GZB |  |  |  | 32904 | [22 empty] | 32904
[7 empty] | ETC-G.Noida |  |  |  |  | 10 | [20 empty] | 121.6 | 131.6
[7 empty] | Shree Cement | [7 empty] | 3464.4 | [18 empty] | 3464.4
Diff | 357.7 | 206.25 |  | 81.448 |  | 648.598 | TSS Gulaothi RLY | [8 empty] | 1054.56 | [17 empty] | 1054.56
[7 empty] | Kjaria | [9 empty] | 2303.16 | [16 empty] | 2303.16
[7 empty] | M/s Saini Alloy | [10 empty] | 1364.64 | [15 empty] | 1364.64
[7 empty] | M/s PPL | [11 empty] | 821.4 | [14 empty] | 821.4
[7 empty] | Bhoor | [12 empty] | 6785 | [13 empty] | 6785
[7 empty] | M/s Amba Shakti | [13 empty] | 21720.48 | [12 empty] | 21720.48
[7 empty] | M/s Appolo Matlex | [14 empty] | 2100.24 | [11 empty] | 2100.24
[7 empty] | M/s APL Appolo | [15 empty] | 1837.62 | [10 empty] | 1837.62
[7 empty] | Ultra Tech Cement | [6 empty] | 2319.06 | [19 empty] | 2319.06
[7 empty] | M/s Master Ji | [17 empty] | 32: 266.238 |  |  | 266.238
[7 empty] | M/s Orient | [17 empty] | 33: 2167.32 |  |  | 2167.32
[7 empty] | M/s Good Luck | [17 empty] | 36: 2065.02 |  |  | 2065.02
[7 empty] | M/s RMG | [17 empty] | 37: 1936.92 |  |  | 1936.92
[7 empty] | M/s Soniya Steel | [17 empty] | 38: 713.04 |  |  | 713.04
[7 empty] | M/s Hitech | [17 empty] | 39: 1564.14 |  |  | 1564.14
[7 empty] | M/s Goel Associates | [17 empty] | 40: 524.4 |  |  | 524.4
[7 empty] | M/s Cellcom | [16 empty] | 115.2 | [9 empty] | 115.2
[7 empty] | GOOD LUCK-2 | [24 empty] | 1710 |  | 1710
%Loss | 0.26672 | 0.23673 |  | 0.13508 |  | 0.48364 | Total | 29098.724 | 2291 |  | 32904 | 10 | 13984.04 | 2319.06 | 3464.4 | 1054.56 | 2303.16 | 1364.64 | 821.4 | 6785 | 21720.48 | 2100.24 | 1837.62 | 115.2 | 266.238 | 2167.32 | 2065.02 | 1936.92 | 713.04 | 1564.14 | 524.4 | 1710 | 121.6 | 133242.202
NOTE-218MW ASSESMENT AT CB NO 31(GOEL ASSOCIATE) DUE TO METER DEFECTIVE
[20 empty] | SDO (TRANS.) |  |  |  |  | 32: A.E. (T&C); 38: E.E. (TEST-II) |  |  | EE (TRANS.)
SDO -III |  |  | AE (T&C) | [10 empty] | EE (TEST-II) | [5 empty] | S.KBD |  |  |  |  | 32: BSR; 38: BSR |  |  | BSR
S.BAD |  |  | BSR | [10 empty] | BSR

## Bhoor
ENERGY ACCOUNT OF 132 KV SUB-STATION BHOOR
M/O-02/2026
|  |  |  | FROM KHURJA |  |  | TO GULAOTHI |  |  |  | JAHANGIRABAD (220 KV)
[5 empty] | 18.5 |  |  | 145533 |  |  |  | 1539609
[5 empty] | 18.5 |  |  | 145533 |  |  |  | 1539609 |  | MF-1
[5 empty] | 0 | O.E.Exp. |  | 0 |  | O.E. Imp. |  | 0 |  | O.E. Exp.
494102
494102
[5 empty] | - |  |  | 0 |  | Exp.
[5 empty] | 46361 |  |  | 427 |  |  |  | 3220843
[5 empty] | 46217 |  |  | 427 |  |  |  | 3207185
[5 empty] | 144 | Imp. |  | 0 |  | Imp. |  | 13658 |  | Imp.
[5 empty] | CT - 400/1 |  |  | CT - 400/1 |  |  |  | CT - 400/1
132 KV BUS
|  |  | 132/33 KV |  |  |  |  | 132/37.5 KV |  |  | 132/33 KV
|  |  | 40 MVA T/F |  |  |  |  | 20 MVA T/F-I |  |  | 63 MVA T/F
|  |  | 1150.781 |  |  |  | 111514 |  |  |  | 967.451
|  |  | 1125.725 |  |  |  | 111514 |  |  |  | 946.542
|  |  | 6013.44 |  |  | CT -400/1 | 0 |  |  |  | 7736.33
|  |  | CT -800/1 |  |  | MF-0.12 | [6 empty] | CT- 1250/1
|  |  | MF-0.24 | [9 empty] | MF-0.375
33 KV BUS
| CT-400/1 |  | CT-400/1 |  | CT-400/1 | CT-25/1 |  | CT-400/1 |  | CT-200/1 | CT-200/1 | CT-400/1 | CT-400/1 | CT-200/1
| MF- 0.12 |  | MF-120 |  | MF- 2.0 | MF-7.5 |  | MF- 2.0 |  | MF- 60 | MF-2/0.12 | MF-1 | MF-2.0 | MF-1
| 2 |  | 3 |  | 4 | 6 |  | 7 |  | 10 | 11 | 12 | 13 | 14
| 2395274 |  | 28.8147 |  | 197455.75 | 26.2483 |  | 316611.45 |  | 0.20033 | 732563 | 2164.7 | 278891.5 | 121016.8
| 2391029 |  | 5.4575 |  | 196124.68 | 10.5539 |  | 315174.45 |  | 0.20033 | 720645 | 2137 | 277995.38 | 120684.7
| 509.4 |  | 2802.864 |  | 2662.14 | 117.7084 |  | 2874 |  | 0 | 1430.16 | 27.7 | 1792.24 | 332.1
Old
T.Nagar |  |  | Jail |  | Yamuna | Hospital |  | Avasvikas |  | H.P.U. | Baral | Dist. Court | Subjimandi | Maharajpur
| EDD-II |  | EDD-II |  | Puram | EDD-II |  | EDD-II |  | EDD-I | EDD-V | EDD-II | EDD-II | EDD-III
EDD-II
EUDD II B
[12 empty] | EDD VI B | 1792.24
| Station |  | 10646.12 |  | MF-0.06
| Transformer |  | 10578.7 |  | 5126501
|  |  | 10.7872 |  | 5106481 | 33 KV Bhoor
|  | CT- 800/1 |  |  | 1201.2 | 33/11 KV
|  | MF- 160 |  |  |  | EDD-V
| 132 KV BUS |  | 33 KV BUS |  | ABSTRACT OF S/S | NAME OF CIRCLE |  | E.D.D-I BSR | E.D.D.-II BSR |  | E.D.D. -III BSR | E.D.D. -V BSR | E.D.D. -VI BSR | ETD, BSR | TOTAL
Imp. | 13802 |  | 13749.77 |  | 13802 | EDC-I BSR |  | - | 8993.8124 |  | - |  | 1792.24 |  | 10786.0524
Exp. | 13749.77 |  | 13760.2996 |  | 13760.2996 | EDC-II BSR |  | 0 | - |  |  | 2631.36 |  |  | 2631.36
[6 empty] | EDC-III BSR |  |  |  |  | 332.1 |  | 0 |  | 332.1
Diff | 52.23 |  | -10.5296 |  | 41.7004 | ETC-Gr. Noida |  | - | - |  | - |  |  | 10.7872 | 10.7872
% Loss | 0.37842 |  | -0.07658 |  | 0.30213 | Total |  | 0 | 8993.8124 |  | 332.1 | 2631.36 | 1792.24 | 10.7872 | 13760.2996
SDO -I |  |  | AE (T&C) |  | AE (Test) | EE (TEST-I) |  |  | EE (TEST-II) |  |  | EE (TEST) |  | EE (TRANS.)
BSR |  |  | BSR |  | BSR | BSR |  |  | BSR |  |  | BSR-III |  | BSR